Engineering Visual Condition Assessment

Dear Owners:

As part of our rigorous preventative maintenance program to preserve and maintain the integrity of our building we contracted a structural engineer, Chris Hollingworth, to assess our building.  The purpose of the visual assessment was to get a professional opinion on the integrity of our building, identify any maintenance items needed, and prioritize any necessary repairs.

In summary the assessment concluded that Atalaya Towers was structurally sound and has been well maintained over the years.  Chris Hollingsworth identified some balconies that appeared to have spalling issues that have since been inspected and repaired.  As part of our routine waterproofing projects included in our long-term budget, we include annual inspections to the balconies.  We also made repairs noted as short term items and have taken his long-term maintenance recommendations under consideration with our long term budget.

Since this assessment was a visual inspection, the board has also taken an extra step to conduct some destructive testing on two of the oceanfront pillars that are highly exposed to the elements.  These pillars received extensive repairs and reinforcement back in 2005.  Although there were no indications that this destructive testing was necessary out of an abundance of caution the board deemed it would be prudent to conduct the additional inspections.

We thank you for being an owner at Atalaya and for your continued support and contributions to the betterment of our Association.

Sincerely,

Atalaya Towers HOA Board of Directors